3 CH DMX CV Driver

Manual

Features:

1. Compatible with the international standard DMX512 signal, 3 output channels,   output current up to 10A per channel.

- Adopt a rotary switch to set DMX start address for the first time in our country, avoiding a series of drawbacks resulted from traditional binary dial-up, namely conversion difficulty, dialing fallibility, identifying problem, etc.

- Built-in many kinds of testing programs, implementing the offline operation easily without DMX main control.

- Each channel reaches up to 265 gray scale levels, supporting 16,770,000 different kinds of colors.

Technical Specifications:

Model: SPD-310

Input Voltage:  DC 8-30V

Output Power:  max 900W

Output Current: 10A*3 channels (sunk output)

Output Frequency: 100Hz

Digital signal input/output: DMX512

Size:  90(L)*115(W)*40(H) mm

Weight: 100g

SHANGHAI SEMPING ELECTRONICS CO.,LTD.

Add: Room 1706, NO. 868, Changping Road, Jing’an District, Shanghai

P.C: 200042

Tel: (86)21-5228 8520

Fax: (86)21-5228 8521

Web：www.dmx512net.com

Technical support ：support@dmx512net.com